SECTION 02840 - TRAFFIC SIGNS

PART 1 - GENERAL

  - GENERAL CONDITIONS: The General Conditions and Special Conditions contained in this IFB shall govern this section of the work.

  - WORK INCLUDED:	Furnish all materials, labor and equipment required to accomplish the installation of all traffic signs as indicated on the plans and specified herein.

  - SUBMITTALS:  A list of component parts indicating the description of each part, the material from which it has been fabricated (including ASTM numbers where applicable) and a statement certifying compliance to the material specification.

PART 2 - PRODUCTS

  - MATERIALS

- Asbestos Prohibition: No asbestos containing materials or equipment shall be used under this section. The Contractor shall ensure that all materials and equipment incorporated in the project are asbestos-free.

- Materials shall be in accordance with the following sections of the State Standard Specifications, except as shown on the plans or amended in the specifications herewith:

1.	Signs	750.01

2.	Sign Posts 2-inch nominal diameter pipe post or 2-inch square (14 gage)	750.02

3.	Fasteners for signs	750.03

PART 3 - EXECUTION

  - INSTALLATION:  Installation of signs shall be in accordance with Section 631 - Traffic Control Regulatory, Warning, and Miscellaneous Signs of the State Standard Specifications, except as shown on the plans or amended in the specifications herewith.

END OF SECTION