SECTION 02731 – SANITARY SEWER SYSTEM

PART 1 – GENERAL

  - GENERAL CONDITIONS:  The General Conditions and Special Provisions preceding these specifications shall govern this section of the work.

  - WORK INCLUDED:  Furnish all labor, materials, tools, equipment and related items necessary to complete, in place, the sewer system in conformity with the dimensions, profiles, sections, and details shown on the plans.  Work relating to the sewer system shall be governed by the following sections of the DPW Standard Specifications:

Vitrified Clay Sewer Pipe and Appurtenances	Section 18

Connection to Existing Sewer and Connecting Cesspool in Direct Line of Sewer	Section 22

Sewer Manholes	Section 23

Portland Cement Concrete	Section 39

Concrete Blocks, Cradles and Concrete Jackets	Section 43

Reinforcing Steel	Section 48

PART 2 – PRODUCTS

  - MATERIALS

- Sewer Pipe:  Vitrified Clay Pipe, Extra Strength

- Sewer Manholes:  As specified in Section 23 - Sewer Manholes of the “Standard Specifications.”

- Materials for the sewer system shall be in accordance with the sections of the Standard Specifications noted hereinafter.

PART 3 – EXECUTION

  - INSTALLATION:  Install the sewer system in accordance with the sections of the Standard Specifications noted hereinbefore.

  - The Contractor shall be responsible for precisely laying out the sewer line shown on the contract plans.  The location shown on the contract plans of the various existing utility lines which the new lines are to cross over or under or connect to were determined on the basis of the best information available; however, no assurance can be provided that the actual locations will be precisely as shown on the contract plans.

  - In performing all work, the Contractor shall exercise due care and caution necessary to avoid any damage to and impairment in the use of any existing utility lines.  Any damage inflicted on existing lines resulting from the Contractor’s operations shall be immediately repaired and restored as directed by the Engineer at the Contractor’s expense.

END OF SECTION